## Slide 1: MTP Status
3/9/2016

## Slide 2: Work since last time
Completed nomenclature document
Updated Gain document w/new info
First scons scripting and test set
Started RCF encapsulation class
Prepped for and went to visit JPL
  How are gain factors initialized?
Determined a workaround for gain initialization until we can figure out how it’s done – requires MTPBin .ref files

## Slide 3: JPL Visit
They don’t know any better how VB gain initialization occurs than we do
  And with new hardware, have moved on to whole new calibration mechanism
They have a new retrieval method (model data rather than radiosonde data)
  still awaiting additional elements to try it out
  Python scripting
  Only used to test against synthetic dataset, results were good
  They now have DEEPWAVE data against which to test

## Slide 4: Next Steps
Continue work on a class that encapsulates all RCFs together
Given an input set of brightness temperatures (scan) and flight altitude, selects the template that should be used to perform the retrieval for this scan
Update code for nomenclature