## Slide 1: Current MTP Operations (And Future MTP Operations)*
9/2/2015
* = Not yet in this document

## Slide 2
“RAOBGet”
Pre-Project work done on MTP Laptop
ASCII RAOB Files
“RAOBMan”
Manager
Raob Templates
RAOB Resources
Subset &
Statistics
“RCCalc”
Radiative Xfer Modeling
Archive Average Brightness Temps
Preliminary Retrieval Coefficients

## Slide 3: Current Real-time Operations
MTP Instrument
MTP 1U
Command
& Control
JPL DAQ S/W
Raw Cnts
& House-
keeping
ADS
JPL
Display
MTPBin
Writes data
To directory
Mounted from
ADS
MTPBin
Displays raw,
Processed, and
Housekeeping
Data for onboard
visualization
Archive Average Brightness Temps
Preliminary Retrieval Coefficients
Copied from MTP
Laptop to 1U
Raw,
Processed &
Housekeeping

## Slide 4: On ADS server
Raw,
Processed &
Housekeeping
nidas
mtp2udp
UDP
nimbus
Ground Database
aeros
ADS Database
aeros
Onboard
On Ground